# Text boxes

1.  Remove screws around roller chart panel ONLY, including

those holding it to the main panel.

2.  Using a No. 6 Allen Head wrench, loosen set screws on LINE

control knob, and remove it.

3.  Lift out roller chart panel and roller assembly as one unit.

4.  Remove old chart and staples from roller.

5.  Lay roller assembly face up, drive wheel to the right, and

remove panel by removing two Phillips head screws.

6.  Stretch out new paper chart on a flat surface with printing

PAPER INSTALLATION PROCEDURE

A        B        C        D        E        F        G        K

117      4         -         5         4       9Z       3*

117      -          -         5         4       9Z       6*

STOP

STOP

STOP

WATCH SYLVANIA NEWS FOR NEW SETTINGS

face up, and top of chart away from you.

7.  Secure bottom end of paper chart to the roller nearest you.

8.  Turn drive wheel and roll up chart.

9.  When other end of chart comes up to assembly, stop and

secure paper to other roller.  The paper should not have ex-

cess slack when this end is fastened.

10.Reassemble roller chart assembly and panel into the tube

cabinet.  Return the LINE control switch back to its’

proper position on the switch shaft, and tighten the set

screws.

#  DIODE, GAS TEST DOES NOT APPLY.

*  CATHODE CONNECTED TO HEATER.

MUST SHOW H-K SHORT.

# DIODE, GAS TEST DOES NOT APPLY.

*  CATHODE CONNECTED TO HEATER.

MUST SHOW H-K SHORT.

#  DIODE, GAS TEST DOES NOT APPLY.

*  CATHODE CONNECTED TO HEATER.

MUST SHOW H-K SHORT.

**  This tube tester may be modified so as to make a special high breakdown voltage test on the 0Z4 G and 0Z4A.  Watch Sylvania

News or write your nearest Sylvania Service Station for information on this modification.  This modification is included in testers with

serial numbers higher than 10100 (type 219) or 20655 (type 220).  After making the modification, the special test settings are: